## List
Item # | ATEX ID without PD19 | ATEX ID with PD19 | NON ATEX | PLM-key *From the ATEX ID's | Var. Part PLM-key MS74: mounted with V-ANTR MC13: flow above seat MU61: customer NK51: packed seal enclosed EC23:spring 633338 & 657100 mount AA19: body with port connection OD-tubing, external pipe. Weld end AF93: Long body IB11: Actuator-sealing alements FKM EC61: spring 632353 mounted | A- Norm Open B- Norm Close | DN Size | Material | Connection | Actuator Type / Material | Actuator Size | Flow Above Seat MC13 | Packed Seal NK51 | Customer MU | In QDP Qty 117
1 | 210644 |  | 469067 | 2000-A-2-10,0-EE-VA-GM83-H-B | PD19 | A | 10 | VA | GM83 | H | B | N | N |  | No
2 | 212149 |  | 469068 | 2000-A-2-10,0-EE-VA-0000-H-B | NK51+PD19 | A | 10 | VA | None | H | B | N | Y | N/A | No
3 | 226634 |  | 469071 | 2000-A-2-10,0-EE-VA-0000-H-B | EC04+NK51+PD19 | A | 10 | VA | None | H | B | N | Y | N/A | No
4 | 323032 |  | 469131 | 2000-A-2-10,0-EE-VA-SA41-H-B * | NK51+PD19+PL01 | A | 10 | VA | SA41 | H | B | N | Y |  | No
5 | 178614 |  | 468978 | 2000-A-2-15,0-EE-RG-GM83-B-C | PD19 | A | 15 | RG | GM83 | B | C | N | N |  | No
6 | 178601 |  | 468970 | 2000-B-2-15,0-EE-RG-GM84-B-C | PD19 | B | 15 | RG | GM84 | B | C | N | N |  | No
7 | 178608 |  | 468975 | 2000-A-2-15,0-EE-RG-GM84-B-C | PD19 | A | 15 | RG | GM84 | B | C | N | N |  | No
8 | 253450 |  | 469086 | 2000-A-2-15,0-EE-RG-GM84-B-C | NL02+PD19 | A | 15 | RG | GM84 | B | C | N | N |  | No
9 | 264483 |  | 469095 | 2000-A-2-15,0-FF-RG-GM84-B-C | EA57+NA02+PD19 | A | 15 | RG | GM84 | B | C | N | N |  | No
10 | 186574 |  | 469048 | 2000-A-2-15,0-EE-RG-GM84-B-C | MC13+PD19 | A | 15 | RG | GM84 | B | C | Y | N |  | No
11 | 315365 |  | 469129 | 2000-A-2-15,0-AA-RG-GM84-B-C | KS66+MC13+MC16+PD19 | A | 15 | RG | GM84 | B | C | Y | N |  | No
12 | 178684 |  | 468988 | 2000-A-2-15,0-EE-RG-GM84-B-D * | MS74+PD19 | A | 15 | RG | GM84 | B | D | N | N |  | No
13 | 178691 |  | 468994 | 2000-B-2-15,0-EE-RG-GM84-B-D | PD19 | B | 15 | RG | GM84 | B | D | N | N |  | No
14 | 233613 |  | 469075 | 2000-A-2-15,0-EE-RG-GM84-B-D | KS66+NA02+PD19 | A | 15 | RG | GM84 | B | D | N | N |  | No
15 | 233614 |  | 469076 | 2000-A-2-15,0-EE-RG-GM84-B-D | KS66+MS74+PD19 | A | 15 | RG | GM84 | B | D | N | N |  | No
16 |  |  | 343140 | 2000-A-2-15,0-FF-RG-GM84-B-D * | MC13+NA02 | A | 15 | RG | GM84 | B | D | Y | N |  | No
17 | 183939 |  | 469025 | 2000-A-2-15,0-EE-RG-GM84-B-D | MC13+MS74+PD19 | A | 15 | RG | GM84 | B | D | Y | N |  | No
18 | 186572 |  | 469047 | 2000-A-2-15,0-AA-RG-GM84-B-D | MC13+MS74+PD19 | A | 15 | RG | GM84 | B | D | Y | N |  | No
19 | 233608 |  | 469073 | 2000-A-2-15,0-EE-RG-GM84-B-E | KS66+PD19 | A | 15 | RG | GM84 | B | E | N | N |  | No
20 | 233611 |  | 469074 | 2000-A-2-15,0-EE-RG-GM84-B-E | KS66+NA02+PD19 | A | 15 | RG | GM84 | B | E | N | N |  | No
21 | 282520 |  | 469100 | 2000-A-2-15,0-EE-RG-GM84-B-E | MC13+PD19 | A | 15 | RG | GM84 | B | E | Y | N |  | No
22 | 178607 |  | 468974 | 2000-A-2-15,0-EE-RG-GM84-D-C | PD19 | A | 15 | RG | GM84 | D | C | N | N |  | No
23 | 178690 |  | 468993 | 2000-B-2-15,0-EE-RG-GM84-D-D | PD19 | B | 15 | RG | GM84 | D | D | N | N |  | No
24 | 186106 |  | 469033 | 2000-A-2-15,0-EE-RG-GM84-D-D | MC13+MS74+PD19 | A | 15 | RG | GM84 | D | D | Y | N |  | No
25 | 186485 |  | 469040 | 2000-A-2-15,0-EE-RG-GM84-D-D | AF26+MC13+MS74+PD19 | A | 15 | RG | GM84 | D | D | Y | N |  | No
26 |  | 459050 | 468148 | 2000-A-2-15,0-EE-RG-NM83-B-C * | PD19 | A | 15 | RG | NM83 | B | C | N | N |  | No
27 |  | 459051 | 469144 | 2000-B-2-15,0-EE-RG-NM83-B-C | PD19 | B | 15 | RG | NM83 | B | C | N | N |  | No
28 |  | 459049 | 468147 | 2000-A-2-15,0-EE-RG-NM83-B-C * | MC13+PD19 | A | 15 | RG | NM83 | B | C | Y | N |  | No
29 |  | 463570 | 468156 | 2000-A-2-15,0-EE-RG-NM84-B-C * | PD19 | A | 15 | RG | NM84 | B | C | N | N |  | Yes
30 |  | 463579 | 468164 | 2000-B-2-15,0-EE-RG-NM84-B-C * | PD19 | B | 15 | RG | NM84 | B | C | N | N |  | Yes
31 |  | 463571 | 468157 | 2000-A-2-15,0-EE-RG-NM84-B-D * | MS74+PD19 | A | 15 | RG | NM84 | B | D | N | N |  | Yes
32 |  | 463580 | 468165 | 2000-B-2-15,0-EE-RG-NM84-B-D * | PD19 | B | 15 | RG | NM84 | B | D | N | N |  | Yes
33 |  | 463270 | 469147 | 2000-A-2-15,0-EE-RG-NM84-B-D * | KX33+MS74+MU42+PD19 | A | 15 | RG | NM84 | B | D | N | N | Primus | No
34 |  | 463316 | 469156 | 2000-B-2-15,0-EE-RG-NM84-B-D | KX33+MU42+PD19 | B | 15 | RG | NM84 | B | D | N | N | Primus | No
35 |  | 464995 | 469167 | 2000-B-2-15,0-EE-RG-NM84-B-D | KR84+PD19 | B | 15 | RG | NM84 | B | D | N | N |  | No
36 |  | 465492 | 469174 | 2000-A-2-15,0-EE-RG-NM84-B-D | KS66+MS74+PD19 | A | 15 | RG | NM84 | B | D | N | N |  | No
37 |  | 465836 | 469178 | 2000-A-2-15,0-EE-RG-NM84-B-D | MS74+MU61+PD19 | A | 15 | RG | NM84 | B | D | N | N | SPX | No
38 |  | 465840 | 469181 | 2000-B-2-15,0-EE-RG-NM84-B-D * | MU61+PD19 | B | 15 | RG | NM84 | B | D | N | N | SPX | No
39 |  | 463585 | 468170 | 2000-A-2-15,0-EE-RG-NM84-B-D * | MC13+MS74+PD19 | A | 15 | RG | NM84 | B | D | Y | N |  | Yes
40 |  | 465635 | 468246 | 2000-A-2-15,0-AA-RG-NM84-B-D | MC13+MS74+PD19 | A | 15 | RG | NM84 | B | D | Y | N |  | No
41 |  | 465849 | 468809 | 2000-A-2-15,0-EE-RG-NM84-B-D * | MC13+MS74+MU61+PD19 | A | 15 | RG | NM84 | B | D | Y | N | SPX | No
42 |  | 464985 | 469165 | 2000-A-2-15,0-EE-RG-NM84-B-D | KR84+MC13+MS74+PD19 | A | 15 | RG | NM84 | B | D | Y | N |  | No
43 |  | 466358 | 469187 | 2000-A-2-15,0-EE-RG-NM84-B-D | MC13+MU61+NL05+PD19 | A | 15 | RG | NM84 | B | D | Y | N |  | No
44 |  | 465824 | 469177 | 2000-A-2-15,0-EE-RG-NM84-B-E | PD19 | A | 15 | RG | NM84 | B | E | N | N |  | No
45 |  | 463592 | 468176 | 2000-A-2-15,0-EE-RG-NM84-D-C * | PD19 | A | 15 | RG | NM84 | D | C | N | N |  | Yes
46 |  | 463600 | 468179 | 2000-B-2-15,0-EE-RG-NM84-D-C * | PD19 | B | 15 | RG | NM84 | D | C | N | N |  | Yes
47 |  | 465397 | 468241 | 2000-A-2-15,0-EE-RG-NM84-D-C | MC13+PD19 | A | 15 | RG | NM84 | D | C | Y | N |  | No
48 |  | 463593 | 468177 | 2000-A-2-15,0-EE-RG-NM84-D-D * | MS74+PD19 | A | 15 | RG | NM84 | D | D | N | N |  | Yes
49 |  | 463601 | 468459 | 2000-B-2-15,0-EE-RG-NM84-D-D * | PD19 | B | 15 | RG | NM84 | D | D | N | N |  | Yes
50 |  | 463606 | 468180 | 2000-A-2-15,0-EE-RG-NM84-D-D * | MC13+MS74+PD19 | A | 15 | RG | NM84 | D | D | Y | N |  | Yes
51 |  | 465749 | 469176 | 2000-A-2-15,0-EE-RG-NM84-D-D | MC13+NB14+PD19 | A | 15 | RG | NM84 | D | D | Y | N |  | No
52 |  | 457774 | 468146 | 2000-A-2-15,0-EE-RG-0000-B-C * | NK51+PD19 | A | 15 | RG | None | B | C | N | Y |  | No
53 | 1722 | 463519 | 468155 | 2000-A-2-15,0-EE-RG-0000-B-D * | MS74+NK51+PD19 | A | 15 | RG | None | B | D | N | Y |  | No
54 | 233559 |  | 469072 | 2000-A-2-15,0-EE-RG-0000-B-D | KS66+MC13+MC16+MS74+NK51+PD19 | A | 15 | RG | None | B | D | Y | Y |  | No
55 | 260222 |  | 469091 | 2000-A-2-15,0-EE-VA-GM82-C-C | PD19 | A | 15 | VA | GM82 | C | C | N | N |  | No
56 | 142613 |  | 468912 | 2000-A-2-15,0-EE-VA-GM83-C-C | PD19 | A | 15 | VA | GM83 | C | C | N | N |  | No
57 | 142616 |  | 468913 | 2000-B-2-15,0-EE-VA-GM83-C-C | PD19 | B | 15 | VA | GM83 | C | C | N | N |  | No
58 | 290102 |  | 469106 | 2000-A-2-15,0-EE-VA-GM83-C-C * | PD19+PL01 | A | 15 | VA | GM83 | C | C | N | N |  | No
59 | 187001 |  | 469058 | 2000-A-2-15,0-EE-VA-GM83-C-D | MS74+PD19 | A | 15 | VA | GM83 | C | D | N | N |  | No
60 | 295061 |  | 469125 | 2000-A-2-15,0-EE-VA-GM83-C-E | KS66+PL01+PD19 | A | 15 | VA | GM83 | C | E | N | N |  | No
61 | 178609 |  | 468976 | 2000-B-2-15,0-EE-VA-GM83-D-C | PD19 | B | 15 | VA | GM83 | D | C | N | N |  | No
62 | 178612 |  | 468977 | 2000-A-2-15,0-EE-VA-GM83-D-C | PD19 | A | 15 | VA | GM83 | D | C | N | N |  | No
63 | 178603 |  | 468971 | 2000-B-2-15,0-EE-VA-GM84-C-C | PD19 | B | 15 | VA | GM84 | C | C | N | N |  | No
64 | 178606 |  | 468973 | 2000-A-2-15,0-EE-VA-GM84-C-C | PD19 | A | 15 | VA | GM84 | C | C | N | N |  | No
65 | 242641 |  | 469081 | 2000-A-2-15,0-EE-VA-GM84-C-C * | IB11+MC13+PD19 | A | 15 | VA | GM84 | C | C | Y | N |  | No
66 | 260808 |  | 469092 | 2000-A-2-15,0-AA-VA-GM84-C-C | MC13+PD19 | A | 15 | VA | GM84 | C | C | Y | N |  | No
67 | 178682 |  | 468987 | 2000-A-2-15,0-EE-VA-GM84-C-D | MS74+PD19 | A | 15 | VA | GM84 | C | D | N | N |  | No
68 | 178689 |  | 468992 | 2000-B-2-15,0-EE-VA-GM84-C-D | PD19 | B | 15 | VA | GM84 | C | D | N | N |  | No
69 | 186357 |  | 469036 | 2000-A-2-15,0-EE-VA-GM84-C-D | AF19+MS74+PD19 | A | 15 | VA | GM84 | C | D | N | N |  | No
70 | 240666 |  | 469080 | 2000-I-2-15,0-EE-VA-GM84-C-D | MS74+PD19 | I | 15 | VA | GM84 | C | D | N | N |  | No
71 | 253057 |  | 469085 | 2000-A-2-15,0-BB-VA-GM84-C-D | PD19 | A | 15 | VA | GM84 | C | D | N | N |  | No
72 | 186376 |  | 469037 | 2000-A-2-15,0-EE-VA-GM84-C-D | MC13+MS74+PD19 | A | 15 | VA | GM84 | C | D | Y | N |  | No
73 | 234894 |  | 469077 | 2000-A-2-15,0-EE-VA-GM84-C-E | KS66+PD19 | A | 15 | VA | GM84 | C | E | N | N |  | No
74 | 178605 |  | 468972 | 2000-A-2-15,0-EE-VA-GM84-D-C | PD19 | A | 15 | VA | GM84 | D | C | N | N |  | No
75 | 186467 |  | 469039 | 2000-A-2-15,0-EE-VA-GM84-D-D * | MC13+MS74+PD19 | A | 15 | VA | GM84 | D | D | Y | N |  | No
76 |  | 459053 | 468150 | 2000-A-2-15,0-EE-VA-NM83-C-C * | PD19 | A | 15 | VA | NM83 | C | C | N | N |  | No
77 |  | 459054 | 468151 | 2000-B-2-15,0-EE-VA-NM83-C-C * | PD19 | B | 15 | VA | NM83 | C | C | N | N |  | No
78 |  | 459052 | 468149 | 2000-A-2-15,0-EE-VA-NM83-C-C * | MC13+PD19 | A | 15 | VA | NM83 | C | C | Y | N |  | No
79 |  | 463612 | 468186 | 2000-A-2-15,0-EE-VA-NM84-C-C * | PD19 | A | 15 | VA | NM84 | C | C | N | N |  | Yes
80 |  | 463621 | 468192 | 2000-B-2-15,0-EE-VA-NM84-C-C * | PD19 | B | 15 | VA | NM84 | C | C | N | N |  | Yes
81 | 319563 |  | 469130 | 2000-A-2-15,0-AA-VA-NM84-C-C | MC13+PD19 | A | 15 | VA | NM84 | C | C | Y | N |  | No
82 |  | 463613 | 468187 | 2000-A-2-15,0-EE-VA-NM84-C-D * | MS74+PD19 | A | 15 | VA | NM84 | C | D | N | N |  | Yes
83 |  | 463622 | 468193 | 2000-B-2-15,0-EE-VA-NM84-C-D * | PD19 | B | 15 | VA | NM84 | C | D | N | N |  | Yes
84 | 263078 |  | 469094 | 2000-A-2-15,0-EE-VA-NM84-C-D | KS66+MS74+PD19 | A | 15 | VA | NM84 | C | D | N | N |  | No
85 |  | 463276 | 469152 | 2000-A-2-15,0-EE-VA-NM84-C-D * | KX33+MS74+MU42+PD19 | A | 15 | VA | NM84 | C | D | N | N | Primus | No
86 |  | 463330 | 469157 | 2000-B-2-15,0-EE-VA-NM84-C-D | KX33+MU42+PD19 | B | 15 | VA | NM84 | C | D | N | N |  | No
87 |  | 463627 | 468197 | 2000-A-2-15,0-EE-VA-NM84-C-D * | MC13+MS74+PD19 | A | 15 | VA | NM84 | C | D | Y | N |  | Yes
88 |  | 464684 | 468230 | 2000-A-2-15,0-EE-VA-NM84-C-E * | PD19 | A | 15 | VA | NM84 | C | E | N | N |  | No
89 |  | 463634 | 468204 | 2000-A-2-15,0-EE-VA-NM84-D-C * | PD19 | A | 15 | VA | NM84 | D | C | N | N |  | Yes
90 |  | 463642 | 468468 | 2000-B-2-15,0-EE-VA-NM84-D-C * | PD19 | B | 15 | VA | NM84 | D | C | N | N |  | Yes
91 |  | 465278 | 468237 | 2000-A-2-15,0-EE-VA-NM84-D-C | MC13+NA47+PD19 | A | 15 | VA | NM84 | D | C | Y | N |  | No
92 |  | 463635 | 468205 | 2000-A-2-15,0-EE-VA-NM84-D-D * | MS74+PD19 | A | 15 | VA | NM84 | D | D | N | N |  | Yes
93 |  | 463643 | 468209 | 2000-B-2-15,0-EE-VA-NM84-D-D * | PD19 | B | 15 | VA | NM84 | D | D | N | N |  | Yes
94 |  | 463648 | 468210 | 2000-A-2-15,0-EE-VA-NM84-D-D * | MC13+MS74+PD19 | A | 15 | VA | NM84 | D | D | Y | N |  | Yes
95 | 246067 |  | 469082 | 2000-A-2-15,0-EE-VA-NM84-H-B | PD19 | A | 15 | VA | NM84 | H | B | N | N |  | No
96 | 266189 |  | 469097 | 2000-B-2-15,0-EE-VA-NM84-H-B | PD19 | B | 15 | VA | NM84 | H | B | N | N |  | No
97 |  | 464970 | 469164 | 2000-0-2-15,0-EE-VA-NM84-Q-1 | PD19 | 0 | 15 | VA | NM84 | Q | 1 | N | N |  | No
98 | 136814 |  | 468904 | 2000-A-2-15,0-EE-VA-0000-C-C | NK51+PD19 | A | 15 | VA | None | C | C | N | Y |  | No
99 | 136816 |  | 468905 | 2000-A-2-15,0-EE-VA-0000-C-C | MC13+NK51+PD19 | A | 15 | VA | None | C | C | Y | Y |  | No
100 | 274406 |  | 469098 | 2000-A-2-15,0-AA-VA-0000-C-C | MC13+NK51+PD19 | A | 15 | VA | None | C | C | Y | Y |  | No
101 | 291444 |  | 469121 | 2000-A-2-15,0-AA-VA-0000-C-C | KS66+MC13+MC16+NK51+PD19 | A | 15 | VA | None | C | C | Y | Y |  | No
102 | 1645 |  | 468868 | 2000-A-2-15,0-EE-VA-0000-C-D * | MS74+NK51+PD19 | A | 15 | VA | None | C | D | N | Y |  | No
103 | 1650 |  | 468872 | 2000-B-2-15,0-EE-VA-0000-C-D | NK51+PD19 | B | 15 | VA | None | C | D | N | Y |  | No
104 | 186536 |  | 469045 | 2000-I-2-15,0-EE-VA-0000-C-D | MS74+NK51+PD19 | I | 15 | VA | None | C | D | N | Y |  | No
105 | 1640 |  | 468867 | 2000-A-2-15,0-EE-VA-0000-C-D | MC13+MS74+NK51+PD19 | A | 15 | VA | None | C | D | Y | Y |  | No
106 | 2328 |  | 344466 | 2000-A-2-15,0-EE-VA-0000-D-D * | MS74+NK51 | A | 15 | VA | None | D | D | N | Y |  | No
107 | 169346 |  | 468958 | 2000-A-2-15,0-EE-VA-0000-D-D | GB06+MC13+NK51+PD19 | A | 15 | VA | None | D | D | Y | Y |  | No
108 | 167371 |  | 468955 | 2000-A-2-15,0-EE-VA-SA40-C-D | MS74+NK51+PD19 | A | 15 | VA | SA40 | C | D | N | Y |  | No
109 | 131898 |  | 468901 | 2000-A-2-15,0-EE-VA-SA42-C-C | NK51+PD19 | A | 15 | VA | SA42 | C | C | N | Y |  | No
110 |  |  | 344388 | 2000-A-2-15,0-EE-VA-SA42-C-D * | MS74+NK51 | A | 15 | VA | SA42 | C | D | N | Y |  | No
111 | 1392 |  | 468844 | 2000-A-2-15,0-EE-VA-SA42-C-D | MS74+NK51+PD19 | A | 15 | VA | SA42 | C | D | N | Y |  | No
112 | 1488 |  | 468861 | 2000-B-2-15,0-EE-VA-SA42-C-D | NK51+PD19 | B | 15 | VA | SA42 | C | D | N | Y |  | No
113 | 1449 |  | 468858 | 2000-A-2-15,0-EE-VA-SA42-C-D | MC13+MS74+NK51+PD19 | A | 15 | VA | SA42 | C | D | Y | Y |  | No
114 | 2380 |  | 468896 | 2000-A-2-15,0-EE-VA-SA42-D-D | MS74+NK51+PD19 | A | 15 | VA | SA42 | D | D | N | Y |  | No
115 | 166016 |  | 468947 | 2000-0-2-15,0-EE-VA-SA42-Q-1 | NK51+PD19 | 0 | 15 | VA | SA42 | Q | 1 | N | Y |  | No
116 | 154674 |  | 468922 | 2000-A-2-15,0-EE-VA-SA92-C-C | AF93+NK51+PD19 | A | 15 | VA | SA92 | C | C | N | Y |  | No
117 | 154675 |  | 344549 | 2000-A-2-15,0-EE-VA-SA92-C-D * | AF93+MS74+NK51 | A | 15 | VA | SA92 | C | D | N | Y |  | No
118 | 154675 |  | 468923 | 2000-A-2-15,0-EE-VA-SA92-C-D * | AF93+MS74+NK51+PD19 | A | 15 | VA | SA92 | C | D | N | Y |  | No
119 | 154676 |  | 468924 | 2000-B-2-15,0-EE-VA-SA92-C-D | AF93+NK51+PD19 | B | 15 | VA | SA92 | C | D | N | Y |  | No
120 | 183283 |  | 469023 | 2000-A-2-15,0-EE-VA-SA92-C-D | AF93+MC13+MS74+NK51+PD19 | A | 15 | VA | SA92 | C | D | Y | Y |  | No
121 | 154657 |  | 468920 | 2000-A-2-15,0-EE-VA-SA92-D-D | AF93+MS74+NK51+PD19 | A | 15 | VA | SA92 | D | D | N | Y |  | No
122 | 170572 |  | 468960 | 2000-A-2-15,0-EE-VA-SA92-D-D | AF93+MC13+MS74+NK51+PD19 | A | 15 | VA | SA92 | D | D | Y | Y |  | No
123 | 174974 |  | 468965 | 2000-0-2-15,0-EE-VA-SA92-Q-1 | AF93+NK51+PD19 | 0 | 15 | VA | SA92 | Q | 1 | N | Y |  | No
124 | 143443 |  | 468914 | 2000-A-2-15,0-EE-VA-SD42-C-D | MS74+NK51+PD19 | A | 15 | VA | SD42 | C | D | N | Y |  | No
125 | 183271 |  | 469022 | 2000-A-2-15,0-EE-VA-SODD-C-D * | AF93+MS74+NK51+PD19 | A | 15 | VA | SODD | C | D | N | Y |  | No
126 | 175574 |  | 468966 | 2000-A-2-15,0-EE-VA-TG02-C-D | MS74+PD19 | A | 15 | VA | TG02 | C | D | N | N |  | No
127 | 183247 |  | 469016 | 2000-A-2-15,0-EE-VA-TG02-C-D | MC13+MS74+PD19 | A | 15 | VA | TG02 | C | D | Y | N |  | No
128 | 147625 |  | 468917 | 2000-A-2-15,0-EE-VA-TH42-C-C | AA19+PD19 | A | 15 | VA | TH42 | C | C | N | N |  | No
129 | 160481 |  | 468938 | 2000-A-2-15,0-EE-VA-TH42-C-D * | AA19+MS74+PD19 | A | 15 | VA | TH42 | C | D | N | N |  | No
130 | 220984 |  | 469069 | 2000-0-2-15,0-EE-VA-TH42-Q-1 | AA19+PD19 | 0 | 15 | VA | TH42 | Q | 1 | N | N |  | No
131 | 168508 |  | 468956 | 2000-A-2-15,0-EE-VA-TK46-C-D | MS74+MU21+NO17+PD19 | A | 15 | VA | TK46 | C | D | N | N | MU21 | No
132 |  | 463538 | 469159 | 2000-A-2-15,0-EE-VA-UN30-C-C | PD19 | A | 15 | VA | UN30 | C | C | N | N |  | No
133 | 186822 |  | 469057 | 2000-A-2-20,0-EE-RG-GM85-B-C | MC13+PD19 | A | 20 | RG | GM85 | B | C | Y | N |  | No
134 | 178680 |  | 468986 | 2000-A-2-20,0-EE-RG-GM85-B-D | MS74+PD19 | A | 20 | RG | GM85 | B | D | N | N |  | No
135 | 178687 |  | 468991 | 2000-B-2-20,0-EE-RG-GM85-B-D | PD19 | B | 20 | RG | GM85 | B | D | N | N |  | No
136 | 185356 |  | 469030 | 2000-A-2-20,0-EE-RG-GM85-B-D | MC13+MS74+PD19 | A | 20 | RG | GM85 | B | D | Y | N |  | No
137 | 186578 |  | 469049 | 2000-A-2-20,0-BB-RG-GM85-B-D | MC13+PD19 | A | 20 | RG | GM85 | B | D | Y | N |  | No
138 | 186816 |  | 469056 | 2000-A-2-20,0-AA-RG-GM85-B-D | MC13+PD19 | A | 20 | RG | GM85 | B | D | Y | N |  | No
139 | 178666 |  | 468980 | 2000-A-2-20,0-EE-RG-GM85-B-E | PD19 | A | 20 | RG | GM85 | B | E | N | N |  | No
140 | 180374 |  | 469012 | 2000-A-2-20,0-EE-RG-GM85-D-D | MC13+MS74+PD19 | A | 20 | RG | GM85 | D | D | Y | N |  | No
141 | 186378 |  | 469038 | 2000-A-2-20,0-EE-RG-GM85-D-D | AF26+MC13+MS74+PD19 | A | 20 | RG | GM85 | D | D | Y | N |  | No
142 |  | 463586 | 468171 | 2000-A-2-20,0-EE-RG-NM85-B-C * | MC13+PD19 | A | 20 | RG | NM85 | B | C | Y | N |  | Yes
143 |  |  | 354038 | 2000-A-2-20,0-EE-RG-NM85-B-D | MS74+NA02+PD19 | A | 20 | RG | NM85 | B | D | N | N |  | No
144 |  | 463572 | 468158 | 2000-A-2-20,0-EE-RG-NM85-B-D * | MS74+PD19 | A | 20 | RG | NM85 | B | D | N | N |  | Yes
145 |  | 463581 | 468166 | 2000-B-2-20,0-EE-RG-NM85-B-D * | PD19 | B | 20 | RG | NM85 | B | D | N | N |  | Yes
146 |  | 463271 | 469148 | 2000-A-2-20,0-EE-RG-NM85-B-D * | KX33+MS74+MU42+PD19 | A | 20 | RG | NM85 | B | D | N | N | Primus | No
147 |  | 465843 | 469184 | 2000-B-2-20,0-EE-RG-NM85-B-D * | MU61+PD19 | B | 20 | RG | NM85 | B | D | N | N | SPX | No
148 |  | 463587 | 468172 | 2000-A-2-20,0-EE-RG-NM85-B-D * | MC13+MS74+PD19 | A | 20 | RG | NM85 | B | D | Y | N |  | Yes
149 |  | 464986 | 468235 | 2000-A-2-20,0-EE-RG-NM85-B-D | KR84+MC13+MS74+PD19 | A | 20 | RG | NM85 | B | D | Y | N |  | No
150 |  | 465850 | 468810 | 2000-A-2-20,0-EE-RG-NM85-B-D * | MC13+MS74+MU61+PD19 | A | 20 | RG | NM85 | B | D | Y | N | SPX | No
151 | 286533 |  | 469103 | 2000-A-2-20,0-BB-RG-NM85-B-D | MC13+PD19 | A | 20 | RG | NM85 | B | D | Y | N |  | No
152 |  | 463573 | 468159 | 2000-A-2-20,0-EE-RG-NM85-B-E * | PD19 | A | 20 | RG | NM85 | B | E | N | N |  | Yes
153 |  | 465398 | 468242 | 2000-A-2-20,0-EE-RG-NM85-D-C | MC13+PD19 | A | 20 | RG | NM85 | D | C | Y | N |  | No
154 |  | 463594 | 468178 | 2000-A-2-20,0-EE-RG-NM85-D-D * | MS74+PD19 | A | 20 | RG | NM85 | D | D | N | N |  | Yes
155 |  | 463602 | 468460 | 2000-B-2-20,0-EE-RG-NM85-D-D * | PD19 | B | 20 | RG | NM85 | D | D | N | N |  | Yes
156 |  | 463607 | 468181 | 2000-A-2-20,0-EE-RG-NM85-D-D * | MC13+MS74+PD19 | A | 20 | RG | NM85 | D | D | Y | N |  | Yes
157 |  | 463595 | 468455 | 2000-A-2-20,0-EE-RG-NM85-D-E * | PD19 | A | 20 | RG | NM85 | D | E | N | N |  | Yes
158 | 162591 |  | 468941 | 2000-A-2-20,0-EE-RG-0000-B-D | MS74+MT89+NK51+PD19 | A | 20 | RG | None | B | D | N | Y |  | No
159 | 186712 |  | 469051 | 2000-A-2-20,0-BB-RG-0000-B-D | MC13+NK51+PD19 | A | 20 | RG | None | B | D | Y | Y |  | No
160 |  | 462615 | 469146 | 2000-A-2-20,0-EE-RG-0000-D-C | MC13+NK51+PD19 | A | 20 | RG | None | D | C | Y | Y |  | No
161 | 175766 |  | 468969 | 2000-A-2-20,0-EE-RG-0000-D-E | NK51+PD19 | A | 20 | RG | None | D | E | N | Y |  | No
162 | 178678 |  | 468985 | 2000-A-2-20,0-EE-VA-GM85-C-D | MS74+PD19 | A | 20 | VA | GM85 | C | D | N | N |  | No
163 | 178686 |  | 468990 | 2000-B-2-20,0-EE-VA-GM85-C-D | PD19 | B | 20 | VA | GM85 | C | D | N | N |  | No
164 | 185304 |  | 469029 | 2000-A-2-20,0-EE-VA-GM85-C-D | MC13+MS74+PD19 | A | 20 | VA | GM85 | C | D | Y | N |  | No
165 | 178664 |  | 468979 | 2000-A-2-20,0-EE-VA-GM85-C-E | PD19 | A | 20 | VA | GM85 | C | E | N | N |  | No
166 | 234896 |  | 469078 | 2000-A-2-20,0-EE-VA-GM85-C-F | KS66+PD19 | A | 20 | VA | GM85 | C | F | N | N |  | No
167 | 178677 |  | 468984 | 2000-A-2-20,0-EE-VA-GM85-D-D | MS74+PD19 | A | 20 | VA | GM85 | D | D | N | N |  | No
168 | 178685 |  | 468989 | 2000-B-2-20,0-EE-VA-GM85-D-D | PD19 | B | 20 | VA | GM85 | D | D | N | N |  | No
169 | 180375 |  | 469013 | 2000-A-2-20,0-EE-VA-GM85-D-D | MC13+MS74+PD19 | A | 20 | VA | GM85 | D | D | Y | N |  | No
170 |  |  | 468220 | 2000-A-2-20,0-EE-VA-NM85-C-C * | PD19 | A | 20 | VA | NM85 | C | C | N | N |  | No
171 |  | 463628 | 468198 | 2000-A-2-20,0-EE-VA-NM85-C-C * | MC13+PD19 | A | 20 | VA | NM85 | C | C | Y | N |  | Yes
172 |  | 463614 | 468041 | 2000-A-2-20,0-EE-VA-NM85-C-D * | MS74+PD19 | A | 20 | VA | NM85 | C | D | N | N |  | Yes
173 |  | 463623 | 468194 | 2000-B-2-20,0-EE-VA-NM85-C-D * | PD19 | B | 20 | VA | NM85 | C | D | N | N |  | Yes
174 | 286535 |  | 469104 | 2000-A-2-20,0-AA-VA-NM85-C-D | PD19 | A | 20 | VA | NM85 | C | D | N | N |  | No
175 |  | 463277 | 469153 | 2000-A-2-20,0-EE-VA-NM85-C-D | KX33+MS74+MU42+PD19 | A | 20 | VA | NM85 | C | D | N | N | Primus | No
176 |  | 463629 | 468199 | 2000-A-2-20,0-EE-VA-NM85-C-D * | MC13+MS74+PD19 | A | 20 | VA | NM85 | C | D | Y | N |  | Yes
177 |  | 466609 | 469189 | 2000-A-2-20,0-FF-VA-NM85-C-D | MC13+NA02+PD19 | A | 20 | VA | NM85 | C | D | Y | N |  | No
178 |  | 463615 | 468188 | 2000-A-2-20,0-EE-VA-NM85-C-E * | PD19 | A | 20 | VA | NM85 | C | E | N | N |  | Yes
179 | 255245 |  | 469088 | 2000-A-2-20,0-EE-VA-NM85-C-F | KS66+PD19 | A | 20 | VA | NM85 | C | F | N | N |  | No
180 |  | 463636 | 468206 | 2000-A-2-20,0-EE-VA-NM85-D-D * | MS74+PD19 | A | 20 | VA | NM85 | D | D | N | N |  | Yes
181 |  | 463644 | 468469 | 2000-B-2-20,0-EE-VA-NM85-D-D * | PD19 | B | 20 | VA | NM85 | D | D | N | N |  | Yes
182 |  | 463649 | 468211 | 2000-A-2-20,0-EE-VA-NM85-D-D * | MC13+MS74+PD19 | A | 20 | VA | NM85 | D | D | Y | N |  | Yes
183 |  | 463637 | 468207 | 2000-A-2-20,0-EE-VA-NM85-D-E * | PD19 | A | 20 | VA | NM85 | D | E | N | N |  | Yes
184 | 274407 |  | 469099 | 2000-A-2-20,0-BB-VA-0000-C-C | MC13+NK51+PD19 | A | 20 | VA | None | C | C | Y | Y |  | No
185 | 1548 |  | 468863 | 2000-A-2-20,0-EE-VA-0000-C-D | MS74+NK51+PD19 | A | 20 | VA | None | C | D | N | Y |  | No
186 | 165689 |  | 468945 | 2000-A-2-20,0-EE-VA-0000-C-D | MS74+MT89+NK51+PD19 | A | 20 | VA | None | C | D | N | Y |  | No
187 | 2376 |  | 468895 | 2000-A-2-20,0-EE-VA-0000-C-E | NK51+PD19 | A | 20 | VA | None | C | E | N | Y |  | No
188 | 2329 |  | 468891 | 2000-A-2-20,0-EE-VA-0000-D-D | MS74+NK51+PD19 | A | 20 | VA | None | D | D | N | Y |  | No
189 | 186335 |  | 469034 | 2000-A-2-20,0-EE-VA-SA02-C-D | AF12+MS74+NK51+PD19 | A | 20 | VA | SA02 | C | D | N | Y |  | No
190 | 131899 |  | 468902 | 2000-A-2-20,0-EE-VA-SA43-C-C | NK51+PD19 | A | 20 | VA | SA43 | C | C | N | Y |  | No
191 | 291142 |  | 469118 | 2000-A-2-20,0-EE-VA-SA43-C-C | NK51+PL01+PD19 | A | 20 | VA | SA43 | C | C | N | Y |  | No
192 | 1393 |  | 468845 | 2000-A-2-20,0-EE-VA-SA43-C-D | MS74+NK51+PD19 | A | 20 | VA | SA43 | C | D | N | Y |  | No
193 | 1448 |  | 468857 | 2000-A-2-20,0-EE-VA-SA43-C-D | MC13+MS74+NK51+PD19 | A | 20 | VA | SA43 | C | D | Y | Y |  | No
194 | 253901 |  | 469087 | 2000-A-2-20,0-EE-VA-SA43-D-C | NK51+PD19 | A | 20 | VA | SA43 | D | C | N | Y |  | No
195 | 166019 |  | 468948 | 2000-0-2-20,0-EE-VA-SA43-Q-1 | NK51+PD19 | 0 | 20 | VA | SA43 | Q | 1 | N | Y |  | No
196 | 164579 |  | 359122 | 2000-B-2-20,0-EE-VA-SA93-C-D * | AF93+NK51+PD19 | B | 20 | VA | SA93 | C | D | N | Y |  | No
197 | 183268 | 461421 | 468152 | 2000-A-2-20,0-EE-VA-SA93-C-D * | AF93+MS74+NK51+PD19 | A | 20 | VA | SA93 | C | D | N | Y |  | No
198 | 154677 |  | 344551 | 2000-A-2-20,0-EE-VA-SA93-C-E * | AF93+NK51 | A | 20 | VA | SA93 | C | E | N | Y |  | No
199 | 154677 |  | 468925 | 2000-A-2-20,0-EE-VA-SA93-C-E * | AF93+NK51+PD19 | A | 20 | VA | SA93 | C | E | N | Y |  | No
200 | 154658 |  | 468921 | 2000-A-2-20,0-EE-VA-SA93-D-D | AF93+MS74+NK51+PD19 | A | 20 | VA | SA93 | D | D | N | Y |  | No
201 | 171014 |  | 468961 | 2000-0-2-20,0-EE-VA-SA93-Q-1 | AF93+NK51+PD19 | 0 | 20 | VA | SA93 | Q | 1 | N | Y |  | No
202 | 415071 |  | 469134 | 2000-A-2-20,0-EE-VA-TC43-C-D | MS74+PD19 | A | 20 | VA | TC43 | C | D | N | N |  | No
203 | 415077 |  | 469137 | 2000-B-2-20,0-EE-VA-TC43-C-D | PD19 | B | 20 | VA | TC43 | C | D | N | N |  | No
204 | 428538 |  | 469140 | 2000-A-2-20,0-EE-VA-TC43-C-D | MS74+NO17+PD19 | A | 20 | VA | TC43 | C | D | N | N |  | No
205 | 415083 |  | 469139 | 2000-A-2-20,0-EE-VA-TC43-C-D | MC13+MS74+PD19 | A | 20 | VA | TC43 | C | D | Y | N |  | No
206 | 157919 |  | 468935 | 2000-A-2-20,0-EE-VA-TC43-D-C | PD19 | A | 20 | VA | TC43 | D | C | N | N |  | No
207 | 175575 |  | 468967 | 2000-A-2-20,0-EE-VA-TG03-C-D | MS74+PD19 | A | 20 | VA | TG03 | C | D | N | N |  | No
208 | 183248 |  | 469017 | 2000-A-2-20,0-EE-VA-TG03-C-D | MC13+MS74+PD19 | A | 20 | VA | TG03 | C | D | Y | N |  | No
209 | 283813 |  | 469101 | 2000-0-2-20,0-EE-VA-TG03-Q-1 | NO16+PD19 | 0 | 20 | VA | TG03 | Q | 1 | N | N |  | No
210 | 300880 |  | 469128 | 2000-I-2-20,0-EE-VA-TH43-C-D | MS74+PD19 | I | 20 | VA | TH43 | C | D | N | N |  | No
211 | 178850 |  | 469002 | 2000-B-2-25,0-EE-RG-GM86-B-D | PD19 | B | 25 | RG | GM86 | B | D | N | N |  | No
212 | 187852 |  | 469061 | 2000-A-2-25,0-BB-RG-GM86-B-D | MC13+NA02+PD19 | A | 25 | RG | GM86 | B | D | Y | N |  | No
213 | 178676 |  | 468983 | 2000-A-2-25,0-EE-RG-GM86-B-E | MS74+PD19 | A | 25 | RG | GM86 | B | E | N | N |  | No
214 | 186571 |  | 469046 | 2000-B-2-25,0-EE-RG-GM86-B-E | PD19 | B | 25 | RG | GM86 | B | E | N | N |  | No
215 | 178860 |  | 469006 | 2000-A-2-25,0-EE-RG-GM86-B-E * | MC13+MS74+PD19 | A | 25 | RG | GM86 | B | E | Y | N |  | No
216 | 186787 |  | 469055 | 2000-A-2-25,0-BB-RG-GM86-B-E | MC13+PD19 | A | 25 | RG | GM86 | B | E | Y | N |  | No
217 | 186489 |  | 469044 | 2000-A-2-25,0-EE-RG-GM86-B-F | PD19 | A | 25 | RG | GM86 | B | F | N | N |  | No
218 | 189264 |  | 469063 | 2000-A-2-25,0-EE-RG-GM86-C-E | GB01+MC13+PD19 | A | 25 | RG | GM86 | C | E | Y | N |  | No
219 | 178675 |  | 468982 | 2000-A-2-25,0-EE-RG-GM86-D-E * | MS74+PD19 | A | 25 | RG | GM86 | D | E | N | N |  | No
220 | 186343 |  | 469035 | 2000-B-2-25,0-EE-RG-GM86-D-E | PD19 | B | 25 | RG | GM86 | D | E | N | N |  | No
221 | 178859 |  | 469005 | 2000-A-2-25,0-EE-RG-GM86-D-E | MC13+MS74+PD19 | A | 25 | RG | GM86 | D | E | Y | N |  | No
222 | 186594 |  | 469050 | 2000-A-2-25,0-EE-RG-GM86-D-E | AF26+MC13+MS74+PD19 | A | 25 | RG | GM86 | D | E | Y | N |  | No
223 |  | 463582 | 468167 | 2000-B-2-25,0-EE-RG-NM86-B-D * | PD19 | B | 25 | RG | NM86 | B | D | N | N |  | Yes
224 |  | 464997 | 469168 | 2000-B-2-25,0-EE-RG-NM86-B-D | KR84+PD19 | B | 25 | RG | NM86 | B | D | N | N |  | No
225 |  | 463588 | 468173 | 2000-A-2-25,0-EE-RG-NM86-B-D * | MC13+MS74+PD19 | A | 25 | RG | NM86 | B | D | Y | N |  | Yes
226 |  | 465842 | 469183 | 2000-A-2-25,0-EE-RG-NM86-B-D | MC13+MS74+MU61+PD19 | A | 25 | RG | NM86 | B | D | Y | N | SPX | No
227 |  | 463574 | 468039 | 2000-A-2-25,0-EE-RG-NM86-B-E * | MS74+PD19 | A | 25 | RG | NM86 | B | E | N | N |  | Yes
228 |  | 464494 | 468221 | 2000-B-2-25,0-EE-RG-NM86-B-E * | PD19 | B | 25 | RG | NM86 | B | E | N | N |  | No
229 |  | 463272 | 469149 | 2000-A-2-25,0-EE-RG-NM86-B-E * | KX33+MS74+MU42+PD19 | A | 25 | RG | NM86 | B | E | N | N | Primus | No
230 |  | 464707 | 469162 | 2000-I-2-25,0-EE-RG-NM86-B-E | MS74+PD19 | I | 25 | RG | NM86 | B | E | N | N |  | No
231 |  | 465845 | 469185 | 2000-B-2-25,0-EE-RG-NM86-B-E * | MU61+PD19 | B | 25 | RG | NM86 | B | E | N | N | SPX | No
232 |  | 463589 | 468031 | 2000-A-2-25,0-EE-RG-NM86-B-E * | MC13+MS74+PD19 | A | 25 | RG | NM86 | B | E | Y | N |  | Yes
233 |  | 465851 | 468811 | 2000-A-2-25,0-EE-RG-NM86-B-E * | MC13+MS74+MU61+PD19 | A | 25 | RG | NM86 | B | E | Y | N | SPX | No
234 | 286528 |  | 469102 | 2000-A-2-25,0-BB-RG-NM86-B-E | MC13+PD19 | A | 25 | RG | NM86 | B | E | Y | N |  | No
235 |  | 464987 | 469166 | 2000-A-2-25,0-EE-RG-NM86-B-E | KR84+MC13+MS74+PD19 | A | 25 | RG | NM86 | B | E | Y | N |  | No
236 |  | 468631 | 469195 | 2000-A-2-25,0-EE-RG-NM86-B-E | MC13+MS74+NK83+PD19 | A | 25 | RG | NM86 | B | E | Y | N |  | No
237 |  | 463575 | 468160 | 2000-A-2-25,0-EE-RG-NM86-B-F * | PD19 | A | 25 | RG | NM86 | B | F | N | N |  | Yes
238 |  | 463603 | 468461 | 2000-B-2-25,0-EE-RG-NM86-D-D * | PD19 | B | 25 | RG | NM86 | D | D | N | N |  | Yes
239 |  | 463608 | 468182 | 2000-A-2-25,0-EE-RG-NM86-D-D * | MC13+MS74+PD19 | A | 25 | RG | NM86 | D | D | Y | N |  | Yes
240 |  | 463596 | 469160 | 2000-A-2-25,0-EE-RG-NM86-D-E * | MS74+PD19 | A | 25 | RG | NM86 | D | E | N | N |  | No
241 |  | 463609 | 468183 | 2000-A-2-25,0-EE-RG-NM86-D-E * | MC13+MS74+PD19 | A | 25 | RG | NM86 | D | E | Y | N |  | Yes
242 |  | 463597 | 468456 | 2000-A-2-25,0-EE-RG-NM86-D-F * | PD19 | A | 25 | RG | NM86 | D | F | N | N |  | Yes
243 | 165052 |  | 468944 | 2000-A-2-25,0-BB-RG-0000-B-D | MC13+NK51+PD19 | A | 25 | RG | None | B | D | Y | Y |  | No
244 | 1724 |  | 468886 | 2000-A-2-25,0-EE-RG-0000-B-E | MS74+NK51+PD19 | A | 25 | RG | None | B | E | N | Y |  | No
245 | 178848 |  | 469001 | 2000-B-2-25,0-EE-VA-GM86-C-D | PD19 | B | 25 | VA | GM86 | C | D | N | N |  | No
246 | 186729 |  | 469053 | 2000-A-2-25,0-EE-VA-GM86-C-D | MC13+MS74+PD19 | A | 25 | VA | GM86 | C | D | Y | N |  | No
247 | 178674 |  | 468981 | 2000-A-2-25,0-EE-VA-GM86-C-E | MS74+PD19 | A | 25 | VA | GM86 | C | E | N | N |  | No
248 | 178857 |  | 469004 | 2000-A-2-25,0-EE-VA-GM86-C-E | MC13+MS74+PD19 | A | 25 | VA | GM86 | C | E | Y | N |  | No
249 | 186488 |  | 469043 | 2000-A-2-25,0-EE-VA-GM86-C-F | MS74+PD19 | A | 25 | VA | GM86 | C | F | N | N |  | No
250 | 178847 |  | 469000 | 2000-B-2-25,0-EE-VA-GM86-D-D | PD19 | B | 25 | VA | GM86 | D | D | N | N |  | No
251 | 187872 |  | 469062 | 2000-A-2-25,0-EE-VA-GM86-D-D | MC13+MS74+PD19 | A | 25 | VA | GM86 | D | D | Y | N |  | No
252 | 187844 |  | 469060 | 2000-A-2-25,0-EE-VA-GM86-D-F | PD19 | A | 25 | VA | GM86 | D | F | N | N |  | No
253 |  | 463624 | 468195 | 2000-B-2-25,0-EE-VA-NM86-C-D * | PD19 | B | 25 | VA | NM86 | C | D | N | N |  | Yes
254 |  | 466739 | 469190 | 2000-A-2-25,0-EE-VA-NM86-C-D | MC16+MS74+PD19 | A | 25 | VA | NM86 | C | D | N | N |  | No
255 |  | 463630 | 468200 | 2000-A-2-25,0-EE-VA-NM86-C-D * | MC13+MS74+PD19 | A | 25 | VA | NM86 | C | D | Y | N |  | Yes
256 |  | 465399 | 468243 | 2000-A-2-25,0-FF-VA-NM86-C-D | MC13+NA02+PD19 | A | 25 | VA | NM86 | C | D | Y | N |  | No
257 |  | 463616 | 468043 | 2000-A-2-25,0-EE-VA-NM86-C-E * | MS74+PD19 | A | 25 | VA | NM86 | C | E | N | N |  | Yes
258 |  | 465469 | 468245 | 2000-A-2-25,0-EE-VA-NM86-C-E | NA47+PD19 | A | 25 | VA | NM86 | C | E | N | N |  | No
259 |  | 463278 | 469154 | 2000-A-2-25,0-EE-VA-NM86-C-E | KX33+MS74+MU42+PD19 | A | 25 | VA | NM86 | C | E | N | N | Primus | No
260 |  | 465922 | 469186 | 2000-I-2-25,0-EE-VA-NM86-C-E | MS74+PD19 | I | 25 | VA | NM86 | C | E | N | N |  | No
261 |  | 463631 | 468201 | 2000-A-2-25,0-EE-VA-NM86-C-E * | MC13+MS74+PD19 | A | 25 | VA | NM86 | C | E | Y | N |  | Yes
262 | 252979 |  | 469084 | 2000-A-2-25,0-AA-VA-NM86-C-E | MC13+PD19 | A | 25 | VA | NM86 | C | E | Y | N |  | No
263 |  |  | 355870 | 2000-A-2-25,0-EE-VA-NM86-C-F * | KS66 | A | 25 | VA | NM86 | C | F | N | N |  | No
264 |  | 463617 | 468189 | 2000-A-2-25,0-EE-VA-NM86-C-F * | MS74+PD19 | A | 25 | VA | NM86 | C | F | N | N |  | Yes
265 |  | 463645 | 468470 | 2000-B-2-25,0-EE-VA-NM86-D-D * | PD19 | B | 25 | VA | NM86 | D | D | N | N |  | Yes
266 |  | 463650 | 468212 | 2000-A-2-25,0-EE-VA-NM86-D-D * | MC13+MS74+PD19 | A | 25 | VA | NM86 | D | D | Y | N |  | Yes
267 |  | 463638 | 468208 | 2000-A-2-25,0-EE-VA-NM86-D-E * | MS74+PD19 | A | 25 | VA | NM86 | D | E | N | N |  | Yes
268 |  | 463651 | 468213 | 2000-A-2-25,0-EE-VA-NM86-D-E * | MC13+MS74+PD19 | A | 25 | VA | NM86 | D | E | Y | N |  | Yes
269 |  | 463639 | 468465 | 2000-A-2-25,0-EE-VA-NM86-D-F * | PD19 | A | 25 | VA | NM86 | D | F | N | N |  | Yes
270 | 252065 |  | 469083 | 2000-0-2-25,0-EE-VA-NM86-Q-1 | PD19 | 0 | 25 | VA | NM86 | Q | 1 | N | N |  | No
271 | 1646 |  | 468869 | 2000-A-2-25,0-EE-VA-0000-C-E | MS74+NK51+PD19 | A | 25 | VA | None | C | E | N | Y |  | No
272 | 1652 |  | 468873 | 2000-B-2-25,0-EE-VA-0000-C-E | NK51+PD19 | B | 25 | VA | None | C | E | N | Y |  | No
273 | 203880 |  | 344838 | 2000-A-2-25,0-EE-VA-0000-C-E * | GB01+MC13+NK51 | A | 25 | VA | None | C | E | Y | Y |  | No
274 | 1659 |  | 468877 | 2000-A-2-25,0-EE-VA-0000-C-E | MC13+MS74+NK51+PD19 | A | 25 | VA | None | C | E | Y | Y |  | No
275 | 203880 |  | 469065 | 2000-A-2-25,0-EE-VA-0000-C-E * | GB01+MC13+NK51+PD19 | A | 25 | VA | None | C | E | Y | Y |  | No
276 | 142019 |  | 468910 | 2000-A-2-25,0-EE-VA-0000-C-F | MS74+NK51+PD19 | A | 25 | VA | None | C | F | N | Y |  | No
277 | 2026 |  | 468889 | 2000-A-2-25,0-EE-VA-0000-D-E * | MS74+NK51+PD19 | A | 25 | VA | None | D | E | N | Y |  | No
278 | 2344 |  | 468893 | 2000-A-2-25,0-EE-VA-0000-D-E | MC13+MS74+NK51+PD19 | A | 25 | VA | None | D | E | Y | Y |  | No
279 | 169321 |  | 468957 | 2000-A-2-25,0-EE-VA-0000-D-E * | GB05+MC13+NK51+PD19 | A | 25 | VA | None | D | E | Y | Y |  | No
280 | 166085 |  | 468952 | 2000-0-2-25,0-EE-VA-0000-Q-1 | NK51+PD19 | 0 | 25 | VA | None | Q | 1 | N | Y |  | No
281 | 1394 |  | 468846 | 2000-A-2-25,0-EE-VA-SA44-C-E | MS74+NK51+PD19 | A | 25 | VA | SA44 | C | E | N | Y |  | No
282 | 1447 |  | 468856 | 2000-A-2-25,0-EE-VA-SA44-C-E * | MC13+MS74+NK51+PD19 | A | 25 | VA | SA44 | C | E | Y | Y |  | No
283 | 2382 |  | 468897 | 2000-A-2-25,0-EE-VA-SA44-D-E | MS74+NK51+PD19 | A | 25 | VA | SA44 | D | E | N | Y |  | No
284 | 166072 |  | 468949 | 2000-0-2-25,0-EE-VA-SA44-Q-1 | NK51+PD19 | 0 | 25 | VA | SA44 | Q | 1 | N | Y |  | No
285 | 154954 |  | 468933 | 2000-A-2-25,0-EE-VA-SA60-C-E | AF93+MS74+NK51+PD19 | A | 25 | VA | SA60 | C | E | N | Y |  | No
286 | 162792 |  | 468942 | 2000-B-2-25,0-EE-VA-SA60-C-E * | AF93+NK51+PD19 | B | 25 | VA | SA60 | C | E | N | Y |  | No
287 | 290131 |  | 469111 | 2000-A-2-25,0-EE-VA-SA60-C-E * | AF93+MS74+NK51+PD19+PL01 | A | 25 | VA | SA60 | C | E | N | Y |  | No
288 | 290134 |  | 469113 | 2000-B-2-25,0-EE-VA-SA60-C-E | AF93+NK51+PL01+PD19 | B | 25 | VA | SA60 | C | E | N | Y |  | No
289 | 143445 |  | 468915 | 2000-A-2-25,0-EE-VA-SD44-C-E | MS74+NK51+PD19 | A | 25 | VA | SD44 | C | E | N | Y |  | No
290 | 143457 |  | 468916 | 2000-A-2-25,0-EE-VA-SD44-C-E | MC13+MS74+NK51+PD19 | A | 25 | VA | SD44 | C | E | Y | Y |  | No
291 | 154678 |  | 345476 | 2000-A-2-25,0-EE-VA-SODF-C-E * | AF93+MS74+NK51 | A | 25 | VA | SODF | C | E | N | Y |  | No
292 | 154678 | 462165 | 468153 | 2000-A-2-25,0-EE-VA-SODF-C-E * | AF93+MS74+NK51+PD19 | A | 25 | VA | SODF | C | E | N | Y |  | No
293 | 183270 |  | 469021 | 2000-B-2-25,0-EE-VA-SODF-C-E | AF93+NK51+PD19 | B | 25 | VA | SODF | C | E | N | Y |  | No
294 | 290123 |  | 469107 | 2000-A-2-25,0-EE-VA-SODF-C-E * | AF93+MS74+NK51+PD19+PL01 | A | 25 | VA | SODF | C | E | N | Y |  | No
295 | 294638 |  | 469123 | 2000-B-2-25,0-EE-VA-SODF-C-E | AF93+NK51+PL01+PD19 | B | 25 | VA | SODF | C | E | N | Y |  | No
296 | 183286 | 462164 | 469024 | 2000-A-2-25,0-EE-VA-SODF-C-E | AF93+MC13+MS74+NK51+PD19 | A | 25 | VA | SODF | C | E | Y | Y |  | No
297 | 154679 |  | 468926 | 2000-A-2-25,0-EE-VA-SODF-C-F * | AF93+MS74+NK51+PD19 | A | 25 | VA | SODF | C | F | N | Y |  | No
298 | 295062 |  | 469126 | 2000-A-2-25,0-EE-VA-SODF-C-F | AF93+KS66+NK51+PL01+PD19 | A | 25 | VA | SODF | C | F | N | Y |  | No
299 | 226137 |  | 469070 | 2000-A-2-25,0-EE-VA-SODF-D-E | AF93+MS74+NK51+PD19 | A | 25 | VA | SODF | D | E | N | Y |  | No
300 | 154693 |  | 468931 | 2000-A-2-25,0-EE-VA-SODF-D-E * | AF93+MC13+MS74+NK51+PD19 | A | 25 | VA | SODF | D | E | Y | Y |  | No
301 | 415072 |  | 469135 | 2000-A-2-25,0-EE-VA-TC44-C-E * | MS74+PD19 | A | 25 | VA | TC44 | C | E | N | N |  | No
302 | 415078 |  | 469138 | 2000-B-2-25,0-EE-VA-TC44-C-E | PD19 | B | 25 | VA | TC44 | C | E | N | N |  | No
303 | 428539 |  | 469141 | 2000-A-2-25,0-EE-VA-TC44-C-E | MS74+NO17+PD19 | A | 25 | VA | TC44 | C | E | N | N |  | No
304 | 175576 |  | 468330 | 2000-A-2-25,0-EE-VA-TG04-C-E * | MS74+PD19 | A | 25 | VA | TG04 | C | E | N | N |  | No
305 | 183265 |  | 469018 | 2000-A-2-25,0-EE-VA-TG04-C-E | MC13+MS74+PD19 | A | 25 | VA | TG04 | C | E | Y | N |  | No
306 | 297528 |  | 469127 | 2000-A-2-25,0-EE-VA-TG04-D-E | GA24+PD19 | A | 25 | VA | TG04 | D | E | N | N |  | No
307 | 183192 |  | 469015 | 2000-A-2-32,0-EE-RG-GM87-B-E | MS74+PD19 | A | 32 | RG | GM87 | B | E | N | N |  | No
308 | 178855 |  | 469003 | 2000-A-2-32,0-EE-RG-GM87-B-E | MC13+MS74+PD19 | A | 32 | RG | GM87 | B | E | Y | N |  | No
309 | 178699 |  | 468999 | 2000-A-2-32,0-EE-RG-GM87-B-F | MS74+PD19 | A | 32 | RG | GM87 | B | F | N | N |  | No
310 | 185745 |  | 469031 | 2000-A-2-32,0-EE-RG-GM87-B-F | LE07+PD19 | A | 32 | RG | GM87 | B | F | N | N |  | No
311 |  | 463583 | 468168 | 2000-B-2-32,0-EE-RG-NM87-B-E * | PD19 | B | 32 | RG | NM87 | B | E | N | N |  | Yes
312 |  | 464576 | 468227 | 2000-A-2-32,0-EE-RG-NM87-B-E * | MS74+PD19 | A | 32 | RG | NM87 | B | E | N | N |  | No
313 |  | 463590 | 468174 | 2000-A-2-32,0-EE-RG-NM87-B-E * | MC13+MS74+PD19 | A | 32 | RG | NM87 | B | E | Y | N |  | Yes
314 |  | 465373 | 468240 | 2000-A-2-32,0-EE-RG-NM87-B-E | IB11+MC13+MC18+PD19 | A | 32 | RG | NM87 | B | E | Y | N |  | No
315 |  | 465837 | 469179 | 2000-A-2-32,0-EE-RG-NM87-B-E | MC13+MS74+MU61+PD19 | A | 32 | RG | NM87 | B | E | Y | N | SPX | No
316 |  | 463576 | 468161 | 2000-A-2-32,0-EE-RG-NM87-B-F * | MS74+PD19 | A | 32 | RG | NM87 | B | F | N | N |  | Yes
317 |  | 463273 | 469150 | 2000-A-2-32,0-EE-RG-NM87-B-F | KX33+MS74+MU42+PD19 | A | 32 | RG | NM87 | B | F | N | N | Primus | No
318 |  | 463604 | 468462 | 2000-B-2-32,0-EE-RG-NM87-D-E * | PD19 | B | 32 | RG | NM87 | D | E | N | N |  | Yes
319 |  | 468028 | 469194 | 2000-A-2-32,0-EE-RG-NM87-D-E | MS74+PD19 | A | 32 | RG | NM87 | D | E | N | N |  | No
320 |  | 463610 | 468184 | 2000-A-2-32,0-EE-RG-NM87-D-E * | MC13+MS74+PD19 | A | 32 | RG | NM87 | D | E | Y | N |  | Yes
321 |  | 465069 | 469170 | 2000-A-2-32,0-FF-RG-NM87-D-E | MC13+PD19 | A | 32 | RG | NM87 | D | E | Y | N |  | No
322 |  | 467957 | 469193 | 2000-A-2-32,0-EE-RG-NM87-D-E * | EC61+MC13+MT53+PD19 | A | 32 | RG | NM87 | D | E | Y | N |  | No
323 |  | 463598 | 468457 | 2000-A-2-32,0-EE-RG-NM87-D-F * | PD19 | A | 32 | RG | NM87 | D | F | N | N |  | Yes
324 | 140058 |  | 468909 | 2000-A-2-32,0-EE-RG-0000-D-E | MC13+MS74+NK51+PD19 | A | 32 | RG | None | D | E | Y | Y |  | No
325 | 185071 |  | 469026 | 2000-A-2-32,0-EE-VA-GM87-C-E | MS74+PD19 | A | 32 | VA | GM87 | C | E | N | N |  | No
326 | 178893 |  | 469008 | 2000-A-2-32,0-EE-VA-GM87-C-E | MC13+MS74+PD19 | A | 32 | VA | GM87 | C | E | Y | N |  | No
327 | 178697 |  | 468998 | 2000-A-2-32,0-EE-VA-GM87-C-F | MS74+PD19 | A | 32 | VA | GM87 | C | F | N | N |  | No
328 | 265592 |  | 469096 | 2000-A-2-32,0-EE-VA-GM87-C-H | KS66+PD19 | A | 32 | VA | GM87 | C | H | N | N |  | No
329 | 178696 |  | 468997 | 2000-A-2-32,0-EE-VA-GM87-D-F | PD19 | A | 32 | VA | GM87 | D | F | N | N |  | No
330 | 209596 |  | 469066 | 2000-A-2-32,0-EE-VA-GM87-D-F | NA47+PD19 | A | 32 | VA | GM87 | D | F | N | N |  | No
331 |  | 465331 | 469172 | 2000-A-2-32,0-EE-VA-NM87-B-E | IB11+MC13+PD19 | A | 32 | VA | NM87 | B | E | Y | N |  | No
332 |  | 463625 | 468464 | 2000-B-2-32,0-EE-VA-NM87-C-E * | PD19 | B | 32 | VA | NM87 | C | E | N | N |  | Yes
333 |  | 463279 | 469155 | 2000-A-2-32,0-EE-VA-NM87-C-E | KX33+MS74+MU42+PD19 | A | 32 | VA | NM87 | C | E | N | N | Primus | No
334 |  | 464577 | 469161 | 2000-A-2-32,0-EE-VA-NM87-C-E | MS74+PD19 | A | 32 | VA | NM87 | C | E | N | N |  | No
335 |  | 463632 | 468202 | 2000-A-2-32,0-EE-VA-NM87-C-E * | MC13+MS74+PD19 | A | 32 | VA | NM87 | C | E | Y | N |  | Yes
336 |  | 463618 | 468190 | 2000-A-2-32,0-EE-VA-NM87-C-F * | MS74+PD19 | A | 32 | VA | NM87 | C | F | N | N |  | Yes
337 |  | 463646 | 468471 | 2000-B-2-32,0-EE-VA-NM87-D-E * | PD19 | B | 32 | VA | NM87 | D | E | N | N |  | Yes
338 |  | 463652 | 468214 | 2000-A-2-32,0-EE-VA-NM87-D-E * | MC13+MS74+PD19 | A | 32 | VA | NM87 | D | E | Y | N |  | Yes
339 |  | 463640 | 468466 | 2000-A-2-32,0-EE-VA-NM87-D-F * | PD19 | A | 32 | VA | NM87 | D | F | N | N |  | Yes
340 | 139798 |  | 468908 | 2000-A-2-32,0-EE-VA-0000-C-E | MS74+NK51+PD19 | A | 32 | VA | None | C | E | N | Y |  | No
341 | 1414 |  | 468853 | 2000-A-2-32,0-EE-VA-SA45-C-E | MC13+MS74+NK51+PD19 | A | 32 | VA | SA45 | C | E | Y | Y |  | No
342 | 161697 |  | 468939 | 2000-A-2-32,0-EE-VA-SA45-C-E | MC13+MC16+MS74+NK51+PD19 | A | 32 | VA | SA45 | C | E | Y | Y |  | No
343 | 1395 |  | 468847 | 2000-A-2-32,0-EE-VA-SA45-C-F | MS74+NK51+PD19 | A | 32 | VA | SA45 | C | F | N | Y |  | No
344 | 428540 |  | 469142 | 2000-A-2-32,0-EE-VA-TC45-C-F | AF91+MS74+NO17+PD19 | A | 32 | VA | TC45 | C | F | N | N |  | No
345 | 178864 |  | 469007 | 2000-B-2-40,0-EE-RG-GM88-B-E | PD19 | B | 40 | RG | GM88 | B | E | N | N |  | No
346 | 178896 |  | 469011 | 2000-A-2-40,0-EE-RG-GM88-B-E | MC13+MS74+PD19 | A | 40 | RG | GM88 | B | E | Y | N |  | No
347 | 178695 |  | 468996 | 2000-A-2-40,0-EE-RG-GM88-B-F | MS74+PD19 | A | 40 | RG | GM88 | B | F | N | N |  | No
348 | 186738 |  | 469054 | 2000-B-2-40,0-EE-RG-GM88-B-F | PD19 | B | 40 | RG | GM88 | B | F | N | N |  | No
349 | 187002 |  | 469059 | 2000-A-2-40,0-EE-RG-GM88-B-F | MC13+MS74+PD19 | A | 40 | RG | GM88 | B | F | Y | N |  | No
350 | 186487 |  | 469042 | 2000-A-2-40,0-EE-RG-GM88-B-H | PD19 | A | 40 | RG | GM88 | B | H | N | N |  | No
351 | 239740 |  | 469079 | 2000-A-2-40,0-EE-RG-GM88-C-E | GB01+KD74+MC13+MC16+PD19 | A | 40 | RG | GM88 | C | E | Y | N |  | No
352 | 186486 |  | 469041 | 2000-A-2-40,0-EE-RG-GM88-D-F | AF26+MC13+PD19 | A | 40 | RG | GM88 | D | F | Y | N |  | No
353 |  | 463584 | 468169 | 2000-B-2-40,0-EE-RG-NM88-B-E * | PD19 | B | 40 | RG | NM88 | B | E | N | N |  | Yes
354 |  | 464998 | 468236 | 2000-B-2-40,0-EE-RG-NM88-B-E | KR84+PD19 | B | 40 | RG | NM88 | B | E | N | N |  | No
355 |  | 465841 | 469182 | 2000-B-2-40,0-EE-RG-NM88-B-E * | MU61+PD19 | B | 40 | RG | NM88 | B | E | N | N | SPX | No
356 |  | 463591 | 468175 | 2000-A-2-40,0-EE-RG-NM88-B-E * | MC13+MS74+PD19 | A | 40 | RG | NM88 | B | E | Y | N |  | Yes
357 |  | 465838 | 468812 | 2000-A-2-40,0-EE-RG-NM88-B-E * | MC13+MS74+MU61+PD19 | A | 40 | RG | NM88 | B | E | Y | N | SPX | No
358 |  | 464708 | 469163 | 2000-I-2-40,0-EE-RG-NM88-B-E | MC13+MS74+PD19 | I | 40 | RG | NM88 | B | E | Y | N |  | No
359 |  | 463577 | 468162 | 2000-A-2-40,0-EE-RG-NM88-B-F * | MS74+PD19 | A | 40 | RG | NM88 | B | F | N | N |  | Yes
360 |  | 464016 | 468218 | 2000-B-2-40,0-EE-RG-NM88-B-F * | PD19 | B | 40 | RG | NM88 | B | F | N | N |  | Yes
361 |  | 464855 | 468234 | 2000-A-2-40,0-BB-RG-NM88-B-F * | PD19 | A | 40 | RG | NM88 | B | F | N | N |  | No
362 |  | 463274 | 469151 | 2000-A-2-40,0-EE-RG-NM88-B-F | KX33+MS74+MU42+PD19 | A | 40 | RG | NM88 | B | F | N | N | Primus | No
363 |  | 464578 | 468228 | 2000-A-2-40,0-EE-RG-NM88-B-F * | MC13+MS74+PD19 | A | 40 | RG | NM88 | B | F | Y | N |  | No
364 |  | 468632 | 469196 | 2000-A-2-40,0-EE-RG-NM88-B-F | MC13+MS74+NK83+PD19 | A | 40 | RG | NM88 | B | F | Y | N |  | No
365 |  | 464014 | 468216 | 2000-A-2-40,0-EE-RG-NM88-B-G * | PD19 | A | 40 | RG | NM88 | B | G | N | N |  | Yes
366 |  | 463578 | 468163 | 2000-A-2-40,0-EE-RG-NM88-B-H * | PD19 | A | 40 | RG | NM88 | B | H | N | N |  | Yes
367 |  | 463605 | 468463 | 2000-B-2-40,0-EE-RG-NM88-D-E * | PD19 | B | 40 | RG | NM88 | D | E | N | N |  | Yes
368 |  | 463611 | 468185 | 2000-A-2-40,0-EE-RG-NM88-D-E * | MC13+MS74+PD19 | A | 40 | RG | NM88 | D | E | Y | N |  | Yes
369 |  | 466897 | 469191 | 2000-A-2-40,0-EE-RG-NM88-D-E | MC13+MC18+PD19 | A | 40 | RG | NM88 | D | E | Y | N |  | No
370 |  | 463599 | 468458 | 2000-A-2-40,0-EE-RG-NM88-D-F * | PD19 | A | 40 | RG | NM88 | D | F | N | N |  | Yes
371 |  | 465088 | 469171 | 2000-A-2-40,0-EE-RG-NM88-D-G | PD19 | A | 40 | RG | NM88 | D | G | N | N |  | No
372 | 165028 |  | 468943 | 2000-A-2-40,0-EE-RG-0000-B-E | MC13+MS74+NK51+PD19 | A | 40 | RG | None | B | E | Y | Y |  | No
373 | 1726 |  | 468887 | 2000-A-2-40,0-EE-RG-0000-B-F | MS74+NK51+PD19 | A | 40 | RG | None | B | F | N | Y |  | No
374 | 174947 |  | 468964 | 2000-A-2-40,0-EE-RG-0000-B-G | NK51+PD19 | A | 40 | RG | None | B | G | N | Y |  | No
375 | 178895 |  | 469010 | 2000-A-2-40,0-EE-VA-GM88-C-E | MC13+MS74+PD19 | A | 40 | VA | GM88 | C | E | Y | N |  | No
376 | 178693 |  | 468995 | 2000-A-2-40,0-EE-VA-GM88-C-F | MS74+PD19 | A | 40 | VA | GM88 | C | F | N | N |  | No
377 | 185073 |  | 469027 | 2000-A-2-40,0-EE-VA-GM88-C-G | PD19 | A | 40 | VA | GM88 | C | G | N | N |  | No
378 | 178894 |  | 469009 | 2000-A-2-40,0-EE-VA-GM88-D-E | MC13+MS74+PD19 | A | 40 | VA | GM88 | D | E | Y | N |  | No
379 |  | 463626 | 468196 | 2000-B-2-40,0-EE-VA-NM88-C-E * | PD19 | B | 40 | VA | NM88 | C | E | N | N |  | Yes
380 |  | 463633 | 468203 | 2000-A-2-40,0-EE-VA-NM88-C-E * | MC13+MS74+PD19 | A | 40 | VA | NM88 | C | E | Y | N |  | Yes
381 |  | 465839 | 469180 | 2000-A-2-40,0-EE-VA-NM88-C-E | MC13+MS74+MU61+PD19 | A | 40 | VA | NM88 | C | E | Y | N | SPX | No
382 |  | 463619 | 468044 | 2000-A-2-40,0-EE-VA-NM88-C-F * | MS74+PD19 | A | 40 | VA | NM88 | C | F | N | N |  | Yes
383 |  | 464017 | 468219 | 2000-B-2-40,0-EE-VA-NM88-C-F * | PD19 | B | 40 | VA | NM88 | C | F | N | N |  | Yes
384 |  | 464015 | 468217 | 2000-A-2-40,0-EE-VA-NM88-C-G * | PD19 | A | 40 | VA | NM88 | C | G | N | N |  | Yes
385 |  | 463620 | 468191 | 2000-A-2-40,0-EE-VA-NM88-C-H * | PD19 | A | 40 | VA | NM88 | C | H | N | N |  | Yes
386 |  | 463647 | 468472 | 2000-B-2-40,0-EE-VA-NM88-D-E * | PD19 | B | 40 | VA | NM88 | D | E | N | N |  | Yes
387 |  | 463653 | 468215 | 2000-A-2-40,0-EE-VA-NM88-D-E * | MC13+MS74+PD19 | A | 40 | VA | NM88 | D | E | Y | N |  | Yes
388 |  | 463641 | 468467 | 2000-A-2-40,0-EE-VA-NM88-D-F * | PD19 | A | 40 | VA | NM88 | D | F | N | N |  | Yes
389 | 1654 |  | 468874 | 2000-B-2-40,0-EE-VA-0000-C-E | NK51+PD19 | B | 40 | VA | None | C | E | N | Y |  | No
390 | 1661 |  | 468878 | 2000-A-2-40,0-EE-VA-0000-C-E | MC13+MS74+NK51+PD19 | A | 40 | VA | None | C | E | Y | Y |  | No
391 | 1648 |  | 468870 | 2000-A-2-40,0-EE-VA-0000-C-F | MS74+NK51+PD19 | A | 40 | VA | None | C | F | N | Y |  | No
392 | 1655 |  | 468875 | 2000-B-2-40,0-EE-VA-0000-C-F | NK51+PD19 | B | 40 | VA | None | C | F | N | Y |  | No
393 | 142481 |  | 468911 | 2000-I-2-40,0-EE-VA-0000-C-F | MS74+NK51+PD19 | I | 40 | VA | None | C | F | N | Y |  | No
394 | 1662 |  | 468879 | 2000-A-2-40,0-EE-VA-0000-C-F | MC13+MS74+NK51+PD19 | A | 40 | VA | None | C | F | Y | Y |  | No
395 | 1672 |  | 468883 | 2000-A-2-40,0-EE-VA-0000-C-G | NK51+PD19 | A | 40 | VA | None | C | G | N | Y |  | No
396 | 2346 |  | 468894 | 2000-A-2-40,0-EE-VA-0000-D-E | MC13+MS74+NK51+PD19 | A | 40 | VA | None | D | E | Y | Y |  | No
397 | 2027 |  | 468890 | 2000-A-2-40,0-EE-VA-0000-D-F | NK51+PD19 | A | 40 | VA | None | D | F | N | Y |  | No
398 | 1415 |  | 468854 | 2000-A-2-40,0-EE-VA-SA46-C-E | MC13+MS74+NK51+PD19 | A | 40 | VA | SA46 | C | E | Y | Y |  | No
399 | 1396 |  | 468848 | 2000-A-2-40,0-EE-VA-SA46-C-F | MS74+NK51+PD19 | A | 40 | VA | SA46 | C | F | N | Y |  | No
400 | 290101 |  | 469105 | 2000-A-2-40,0-EE-VA-SA46-C-F | MS74+NK51+PL01+PD19 | A | 40 | VA | SA46 | C | F | N | Y |  | No
401 | 290133 |  | 469112 | 2000-B-2-40,0-EE-VA-SA46-C-F | NK51+PL01+PD19 | B | 40 | VA | SA46 | C | F | N | Y |  | No
402 | 3063 |  | 468898 | 2000-A-2-40,0-EE-VA-SA46-D-F | NK51+PD19 | A | 40 | VA | SA46 | D | F | N | Y |  | No
403 | 166078 |  | 468950 | 2000-0-2-40,0-EE-VA-SA46-Q-1 | NK51+PD19 | 0 | 40 | VA | SA46 | Q | 1 | N | Y |  | No
404 | 290139 |  | 469114 | 2000-B-2-40,0-EE-VA-SA62-C-E | AF93+NK51+PL01+PD19 | B | 40 | VA | SA62 | C | E | N | Y |  | No
405 | 154952 |  | 468932 | 2000-A-2-40,0-EE-VA-SA62-C-E | AF93+MC13+MS74+NK51+PD19 | A | 40 | VA | SA62 | C | E | Y | Y |  | No
406 | 290130 |  | 469110 | 2000-A-2-40,0-EE-VA-SA62-C-E | AF93+MC13+MS74+NK51+PL01+PD19 | A | 40 | VA | SA62 | C | E | Y | Y |  | No
407 | 154955 |  | 468934 | 2000-A-2-40,0-EE-VA-SA62-C-F | AF93+MS74+NK51+PD19 | A | 40 | VA | SA62 | C | F | N | Y |  | No
408 | 154681 |  | 468928 | 2000-B-2-40,0-EE-VA-SODH-C-E | AF93+NK51+PD19 | B | 40 | VA | SODH | C | E | N | Y |  | No
409 | 154680 |  | 468927 | 2000-A-2-40,0-EE-VA-SODH-C-F | AF93+MS74+NK51+PD19 | A | 40 | VA | SODH | C | F | N | Y |  | No
410 | 172615 |  | 468962 | 2000-B-2-40,0-EE-VA-SODH-C-F | AF93+KR84+NK51+PD19 | B | 40 | VA | SODH | C | F | N | Y |  | No
411 | 159304 |  | 468937 | 2000-A-2-40,0-EE-VA-SODH-C-H | AF93+NK51+PD19 | A | 40 | VA | SODH | C | H | N | Y |  | No
412 | 415074 |  | 469136 | 2000-A-2-40,0-EE-VA-TC46-C-F | MS74+PD19 | A | 40 | VA | TC46 | C | F | N | N |  | No
413 | 162082 |  | 468940 | 2000-I-2-40,0-EE-VA-TG05-C-E | MS74+PD19 | I | 40 | VA | TG05 | C | E | N | N |  | No
414 | 183266 |  | 469019 | 2000-A-2-40,0-EE-VA-TG05-C-E | MC13+MS74+PD19 | A | 40 | VA | TG05 | C | E | Y | N |  | No
415 | 175579 |  | 468332 | 2000-A-2-40,0-EE-VA-TG05-C-F | MS74+PD19 | A | 40 | VA | TG05 | C | F | N | N |  | No
416 | 1371 |  | 468842 | 2000-B-2-50,0-EE-RG-GM89-B-E | PD19 | B | 50 | RG | GM89 | B | E | N | N |  | No
417 |  |  | 344383 | 2000-A-2-50,0-EE-RG-GM89-B-E * | MC13+MS74 | A | 50 | RG | GM89 | B | E | Y | N |  | No
418 | 1251 |  | 468841 | 2000-A-2-50,0-EE-RG-GM89-B-E * | MC13+MS74+PD19 | A | 50 | RG | GM89 | B | E | Y | N |  | No
419 | 1595 |  | 468865 | 2000-B-2-50,0-EE-RG-GM89-B-F | PD19 | B | 50 | RG | GM89 | B | F | N | N |  | No
420 | 1984 |  | 468888 | 2000-A-2-50,0-EE-RG-GM89-B-F | MS74+PD19 | A | 50 | RG | GM89 | B | F | N | N |  | No
421 | 1457 |  | 468859 | 2000-A-2-50,0-EE-RG-GM89-B-F | MC13+MS74+PD19 | A | 50 | RG | GM89 | B | F | Y | N |  | No
422 | 1134 |  | 468838 | 2000-A-2-50,0-EE-RG-GM89-B-G | PD19 | A | 50 | RG | GM89 | B | G | N | N |  | No
423 | 152931 |  | 468919 | 2000-A-2-50,0-FF-RG-GM89-B-G | MC13+NA02+PD19 | A | 50 | RG | GM89 | B | G | Y | N |  | No
424 | 1593 |  | 468864 | 2000-A-2-50,0-EE-RG-GM89-B-H | PD19 | A | 50 | RG | GM89 | B | H | N | N |  | No
425 | 261773 |  | 469093 | 2000-A-2-50,0-EE-RG-GM89-B-H | KS66+MC13+PD19 | A | 50 | RG | GM89 | B | H | Y | N |  | No
426 | 167365 |  | 468954 | 2000-A-2-50,0-EE-RG-GM89-C-E | GB01+MC13+PD19 | A | 50 | RG | GM89 | C | E | Y | N |  | No
427 | 180380 |  | 469014 | 2000-A-2-50,0-EE-RG-GM89-D-F | PD19 | A | 50 | RG | GM89 | D | F | N | N |  | No
428 | 186720 |  | 469052 | 2000-A-2-50,0-EE-RG-GM89-D-F | AF26+MC13+PD19 | A | 50 | RG | GM89 | D | F | Y | N |  | No
429 |  | 454617 | 468133 | 2000-B-2-50,0-EE-RG-NM89-B-E * | PD19 | B | 50 | RG | NM89 | B | E | N | N |  | Yes
430 |  | 454632 | 468136 | 2000-A-2-50,0-EE-RG-NM89-B-E * | MC13+MS74+PD19 | A | 50 | RG | NM89 | B | E | Y | N |  | No
431 |  | 465461 | 469173 | 2000-A-2-50,0-EE-RG-NM89-B-E | MC13+MC16+MS74+PD19 | A | 50 | RG | NM89 | B | E | Y | N |  | No
432 |  | 454787 | 468143 | 2000-B-2-50,0-EE-RG-NM89-B-F * | PD19 | B | 50 | RG | NM89 | B | F | N | N |  | Yes
433 |  | 464999 | 469169 | 2000-B-2-50,0-EE-RG-NM89-B-F | KR84+PD19 | B | 50 | RG | NM89 | B | F | N | N |  | No
434 |  | 454633 | 468137 | 2000-A-2-50,0-EE-RG-NM89-B-F * | MC13+MS74+PD19 | A | 50 | RG | NM89 | B | F | Y | N |  | Yes
435 |  | 468633 | 469197 | 2000-A-2-50,0-EE-RG-NM89-B-F | MC13+MS74+NK83+PD19 | A | 50 | RG | NM89 | B | F | Y | N |  | No
436 |  | 454610 | 468131 | 2000-A-2-50,0-EE-RG-NM89-B-G * | PD19 | A | 50 | RG | NM89 | B | G | N | N |  | Yes
437 |  | 462560 | 468154 | 2000-A-2-50,0-BB-RG-NM89-B-G * | PD19 | A | 50 | RG | NM89 | B | G | N | N |  | No
438 |  | 454785 | 468142 | 2000-A-2-50,0-EE-RG-NM89-B-H * | PD19 | A | 50 | RG | NM89 | B | H | N | N |  | Yes
439 |  | 464021 | 468476 | 2000-B-2-50,0-EE-RG-NM89-D-E * | PD19 | B | 50 | RG | NM89 | D | E | N | N |  | Yes
440 |  | 466904 | 469192 | 2000-A-2-50,0-EE-RG-NM89-D-E | MC13+MC18+PD19 | A | 50 | RG | NM89 | D | E | Y | N |  | No
441 |  | 464023 | 468478 | 2000-B-2-50,0-EE-RG-NM89-D-F * | PD19 | B | 50 | RG | NM89 | D | F | N | N |  | Yes
442 |  | 457368 | 468145 | 2000-A-2-50,0-EE-RG-NM89-D-F * | MC13+PD19 | A | 50 | RG | NM89 | D | F | Y | N |  | Yes
443 |  | 464018 | 468473 | 2000-A-2-50,0-EE-RG-NM89-D-G * | PD19 | A | 50 | RG | NM89 | D | G | N | N |  | Yes
444 |  | 457285 | 468452 | 2000-A-2-50,0-EE-RG-NM89-D-H * | PD19 | A | 50 | RG | NM89 | D | H | N | N |  | Yes
445 | 131845 |  | 468899 | 2000-A-2-50,0-EE-RG-0000-B-F | MC13+MS74+NK51+PD19 | A | 50 | RG | None | B | F | Y | Y |  | No
446 | 152727 |  | 468918 | 2000-B-2-50,0-EE-RG-RC89-C-E | GB01+PD19 | B | 50 | RG | RC89 | C | E | N | N |  | No
447 | 1401 |  | 468851 | 2000-A-2-50,0-EE-VA-GM89-C-E | MC13+MS74+PD19 | A | 50 | VA | GM89 | C | E | Y | N |  | No
448 | 1603 |  | 468866 | 2000-B-2-50,0-EE-VA-GM89-C-F | PD19 | B | 50 | VA | GM89 | C | F | N | N |  | No
449 | 135923 |  | 468903 | 2000-A-2-50,0-EE-VA-GM89-C-F | MS74+PD19 | A | 50 | VA | GM89 | C | F | N | N |  | No
450 | 1458 |  | 468860 | 2000-A-2-50,0-EE-VA-GM89-C-F | MC13+MS74+PD19 | A | 50 | VA | GM89 | C | F | Y | N |  | No
451 | 1140 |  | 468839 | 2000-A-2-50,0-EE-VA-GM89-C-G | PD19 | A | 50 | VA | GM89 | C | G | N | N |  | No
452 | 1239 |  | 468840 | 2000-A-2-50,0-EE-VA-GM89-D-G | PD19 | A | 50 | VA | GM89 | D | G | N | N |  | No
453 | 166080 |  | 468951 | 2000-0-2-50,0-EE-VA-GM89-Q-1 | PD19 | 0 | 50 | VA | GM89 | Q | 1 | N | N |  | No
454 |  | 454602 | 468449 | 2000-B-2-50,0-EE-VA-NM89-C-E * | PD19 | B | 50 | VA | NM89 | C | E | N | N |  | Yes
455 |  | 466479 | 469188 | 2000-B-2-50,0-EE-VA-NM89-C-E | PD19+PL01 | B | 50 | VA | NM89 | C | E | N | N |  | No
456 |  |  | 468139 | 2000-A-2-50,0-EE-VA-NM89-C-E * | MC13+MS74+PD19 | A | 50 | VA | NM89 | C | E | Y | N |  | No
457 |  | 454791 | 468144 | 2000-B-2-50,0-EE-VA-NM89-C-F * | PD19 | B | 50 | VA | NM89 | C | F | N | N |  | Yes
458 |  | 463473 | 469158 | 2000-A-2-50,0-EE-VA-NM89-C-F | MS74+PD19 | A | 50 | VA | NM89 | C | F | N | N |  | No
459 |  | 454642 | 468140 | 2000-A-2-50,0-EE-VA-NM89-C-F * | MC13+MS74+PD19 | A | 50 | VA | NM89 | C | F | Y | N |  | Yes
460 |  | 454624 | 468134 | 2000-A-2-50,0-EE-VA-NM89-C-G * | PD19 | A | 50 | VA | NM89 | C | G | N | N |  | Yes
461 |  | 454789 | 468045 | 2000-A-2-50,0-EE-VA-NM89-C-H * | PD19 | A | 50 | VA | NM89 | C | H | N | N |  | Yes
462 |  | 464022 | 468477 | 2000-B-2-50,0-EE-VA-NM89-D-E * | PD19 | B | 50 | VA | NM89 | D | E | N | N |  | Yes
463 |  | 464024 | 468479 | 2000-B-2-50,0-EE-VA-NM89-D-F * | PD19 | B | 50 | VA | NM89 | D | F | N | N |  | Yes
464 |  |  | 353068 | 2000-A-2-50,0-EE-VA-NM89-D-F * | MC13+PD19 | A | 50 | VA | NM89 | D | F | Y | N |  | Yes
465 |  | 460434 | 469145 | 2000-A-2-50,0-EE-VA-NM89-D-F | MC13+MC16+PD19 | A | 50 | VA | NM89 | D | F | Y | N |  | No
466 |  | 464019 | 468474 | 2000-A-2-50,0-EE-VA-NM89-D-G * | PD19 | A | 50 | VA | NM89 | D | G | N | N |  | Yes
467 |  | 464020 | 468475 | 2000-A-2-50,0-EE-VA-NM89-D-H * | PD19 | A | 50 | VA | NM89 | D | H | N | N |  | Yes
468 | 1663 |  | 468880 | 2000-A-2-50,0-EE-VA-0000-C-E | MC13+MS74+NK51+PD19 | A | 50 | VA | None | C | E | Y | Y |  | No
469 | 1657 |  | 468876 | 2000-B-2-50,0-EE-VA-0000-C-F | NK51+PD19 | B | 50 | VA | None | C | F | N | Y |  | No
470 | 138134 |  | 468907 | 2000-A-2-50,0-EE-VA-0000-C-F | MS74+NK51+PD19 | A | 50 | VA | None | C | F | N | Y |  | No
471 | 294352 |  | 469122 | 2000-A-2-50,0-EE-VA-0000-C-F | MS74+NK51+PL01+PD19 | A | 50 | VA | None | C | F | N | Y |  | No
472 | 1664 |  | 468881 | 2000-A-2-50,0-EE-VA-0000-C-F | MC13+MS74+NK51+PD19 | A | 50 | VA | None | C | F | Y | Y |  | No
473 | 1649 |  | 468871 | 2000-A-2-50,0-EE-VA-0000-C-G | NK51+PD19 | A | 50 | VA | None | C | G | N | Y |  | No
474 | 1673 |  | 468884 | 2000-A-2-50,0-EE-VA-0000-C-H | NK51+PD19 | A | 50 | VA | None | C | H | N | Y |  | No
475 | 2332 |  | 468892 | 2000-A-2-50,0-EE-VA-0000-D-G | NK51+PD19 | A | 50 | VA | None | D | G | N | Y |  | No
476 | 1493 |  | 468862 | 2000-B-2-50,0-EE-VA-SA27-C-E | NK51+PD19 | B | 50 | VA | SA27 | C | E | N | Y |  | No
477 | 1416 |  | 468855 | 2000-A-2-50,0-EE-VA-SA27-C-E | MC13+MS74+NK51+PD19 | A | 50 | VA | SA27 | C | E | Y | Y |  | No
478 | 1670 |  | 468882 | 2000-A-2-50,0-EE-VA-SA27-C-F | MS74+NK51+PD19 | A | 50 | VA | SA27 | C | F | N | Y |  | No
479 | 1397 |  | 468849 | 2000-A-2-50,0-EE-VA-SA27-C-G | NK51+PD19 | A | 50 | VA | SA27 | C | G | N | Y |  | No
480 | 294777 |  | 469124 | 2000-A-2-50,0-EE-VA-SA27-C-G | NK51+PL01+PD19 | A | 50 | VA | SA27 | C | G | N | Y |  | No
481 | 256031 |  | 469089 | 2000-A-2-50,0-EE-VA-SA27-D-F | NK51+NO16+PD19 | A | 50 | VA | SA27 | D | F | N | Y |  | No
482 | 291179 |  | 469119 | 2000-A-2-50,0-EE-VA-SA63-C-H | AF93+NK51+PL01+PD19 | A | 50 | VA | SA63 | C | H | N | Y |  | No
483 | 174554 |  | 468963 | 2000-B-2-50,0-EE-VA-SODI-C-E | AF93+NK51+PD19 | B | 50 | VA | SODI | C | E | N | Y |  | No
484 | 291199 |  | 469120 | 2000-B-2-50,0-EE-VA-SODI-C-E | AF93+NK51+PL01+PD19 | B | 50 | VA | SODI | C | E | N | Y |  | No
485 | 166536 |  | 468953 | 2000-A-2-50,0-EE-VA-SODI-C-E | AF93+MC13+MS74+NK51+PD19 | A | 50 | VA | SODI | C | E | Y | Y |  | No
486 | 290140 |  | 469115 | 2000-A-2-50,0-EE-VA-SODI-C-E | AF93+MC13+MS74+NK51+PL01+PD19 | A | 50 | VA | SODI | C | E | Y | Y |  | No
487 | 330479 |  | 469132 | 2000-A-2-50,0-EE-VA-SODI-C-E | AF93+EC03+MC13+MS74+NK51+PL01+PD19 | A | 50 | VA | SODI | C | E | Y | Y |  | No
488 | 168883 |  | 468486 | 2000-B-2-50,0-EE-VA-SODI-C-F * | AF93+NK51+PD19 | B | 50 | VA | SODI | C | F | N | Y |  | No
489 | 154682 |  | 468929 | 2000-A-2-50,0-EE-VA-SODI-C-F * | AF93+MS74+NK51+PD19 | A | 50 | VA | SODI | C | F | N | Y |  | No
490 | 290125 |  | 469108 | 2000-A-2-50,0-EE-VA-SODI-C-F | AF93+MS74+NK51+PL01+PD19 | A | 50 | VA | SODI | C | F | N | Y |  | No
491 | 183269 |  | 469020 | 2000-A-2-50,0-EE-VA-SODI-C-G * | AF93+NK51+PD19 | A | 50 | VA | SODI | C | G | N | Y |  | No
492 | 259615 |  | 469090 | 2000-A-2-50,0-EE-VA-SODI-C-G | AF93+MC13+NK51+PD19 | A | 50 | VA | SODI | C | G | Y | Y |  | No
493 | 154683 |  | 468930 | 2000-A-2-50,0-EE-VA-SODI-C-H | AF93+NK51+PD19 | A | 50 | VA | SODI | C | H | N | Y |  | No
494 | 290127 |  | 469109 | 2000-A-2-50,0-EE-VA-SODI-C-H | AF93+NK51+PL01+PD19 | A | 50 | VA | SODI | C | H | N | Y |  | No
495 | 175580 |  | 468968 | 2000-A-2-50,0-EE-VA-TG06-C-G | PD19 | A | 50 | VA | TG06 | C | G | N | N |  | No
496 | 1398 |  | 468850 | 2000-A-2-65,0-EE-RG-GM90-B-F | MC13+MS74+PD19 | A | 65 | RG | GM90 | B | F | Y | N |  | No
497 | 137552 |  | 468906 | 2000-A-2-65,0-BB-RG-GM90-B-F | MC13+NA02+PD19 | A | 65 | RG | GM90 | B | F | Y | N |  | No
498 | 185751 |  | 469032 | 2000-A-2-65,0-EE-RG-GM90-B-H | LE07+PD19 | A | 65 | RG | GM90 | B | H | N | N |  | No
499 |  | 454618 | 468451 | 2000-B-2-65,0-EE-RG-NM90-B-F * | PD19 | B | 65 | RG | NM90 | B | F | N | N |  | Yes
500 |  | 454634 | 468138 | 2000-A-2-65,0-EE-RG-NM90-B-F * | MC13+MS74+PD19 | A | 65 | RG | NM90 | B | F | Y | N |  | Yes
501 |  | 462656 | 468453 | 2000-A-2-65,0-EE-RG-NM90-B-H * | EC23+PD19 | A | 65 | RG | NM90 | B | H | N | N |  | Yes
502 |  | 462743 | 468569 | 2000-A-2-65,0-EE-RG-NM90-D-G * | MC13+PD19 | A | 65 | RG | NM90 | D | G | Y | N |  | Yes
503 |  | 465665 | 469175 | 2000-A-2-65,0-EE-RG-NM90-D-H | PD19 | A | 65 | RG | NM90 | D | H | N | N |  | No
504 | 131846 |  | 468900 | 2000-A-2-65,0-EE-RG-0000-B-F | MC13+MS74+NK51+PD19 | A | 65 | RG | None | B | F | Y | Y |  | No
505 | 192470 |  | 469064 | 2000-B-2-65,0-EE-RG-0000-C-E | GB01+NK51+PD19 | B | 65 | RG | None | C | E | N | Y |  | No
506 | 158310 |  | 468936 | 2000-B-2-65,0-EE-RG-RC90-B-F | PD19 | B | 65 | RG | RC90 | B | F | N | N |  | No
507 | 170488 |  | 468959 | 2000-A-2-65,0-EE-RG-RC90-D-H | EC23+PD19 | A | 65 | RG | RC90 | D | H | N | N |  | No
508 | 1402 |  | 468852 | 2000-A-2-65,0-EE-VA-GM90-C-F | MC13+PD19 | A | 65 | VA | GM90 | C | F | Y | N |  | No
509 | 1373 |  | 468843 | 2000-A-2-65,0-EE-VA-GM90-C-H | PD19 | A | 65 | VA | GM90 | C | H | N | N |  | No
510 |  | 454611 | 468132 | 2000-A-2-50,0-EE-VA-NM89-C-H * | PD19 | A | 65 | VA | NM89 | C | H | N | N |  | Yes
511 |  | 454603 | 468450 | 2000-B-2-65,0-EE-VA-NM90-C-F * | PD19 | B | 65 | VA | NM90 | C | F | N | N |  | Yes
512 |  | 454643 | 468141 | 2000-A-2-65,0-EE-VA-NM90-C-F * | MC13+PD19 | A | 65 | VA | NM90 | C | F | Y | N |  | Yes
513 |  | 454625 | 468135 | 2000-A-2-65,0-EE-VA-NM90-C-H * | PD19 | A | 65 | VA | NM90 | C | H | N | N |  | Yes
514 |  | 462657 | 468454 | 2000-A-2-65,0-EE-VA-NM90-C-H * | EC23+PD19 | A | 65 | VA | NM90 | C | H | N | N |  | Yes
515 |  | 462742 | 468568 | 2000-A-2-65,0-EE-VA-NM90-D-G * | MC13+PD19 | A | 65 | VA | NM90 | D | G | Y | N |  | Yes
516 |  | 466037 | 468570 | 2000-A-2-65,0-EE-VA-NM90-D-H * | MC13+PD19 | A | 65 | VA | NM90 | D | H | Y | N |  | No
517 | 1675 |  | 468885 | 2000-A-2-65,0-EE-VA-0000-C-F | MC13+NK51+PD19 | A | 65 | VA | None | C | F | Y | Y |  | No
518 | 431530 |  | 469143 | 2000-A-2-65,0-EE-VA-SA87-C-F | MC13+NK51+PD19 | A | 65 | VA | SA87 | C | F | Y | Y |  | No
519 | 165985 |  | 468946 | 2000-A-2-65,0-EE-VA-SA87-C-H | NK51+PD19 | A | 65 | VA | SA87 | C | H | N | Y |  | No
520 | 290143 |  | 469116 | 2000-A-2-65,0-EE-VA-SA87-C-H | EC23+NK51+PL01+PD19 | A | 65 | VA | SA87 | C | H | N | Y |  | No
521 | 185283 |  | 469028 | 2000-A-2-65,0-EE-VA-SODJ-C-H | AF93+NK51+PD19 | A | 65 | VA | SODJ | C | H | N | Y |  | No
522 | 290145 |  | 469117 | 2000-A-2-65,0-EE-VA-SODJ-C-H | AF93+EC23+NK51+PL01+PD19 | A | 65 | VA | SODJ | C | H | N | Y |  | No